## Menu
Wind Energy Payback Period Workbook (v1.0)
Step 1: Financial Assumptions
Step 2: Site Characteristics
Step 3: System Properties
Payback Period (Years) |  |  |  | 16
Based on the assumptions that you entered, this investment does not look very attractive. The payback period is 16. That means that your initial capital investment will not be fully recovered until 16 years of the purchase. However, this analysis is only preliminary. Please conduct a more thourough analysis before proceeding.
My one concern about this illustration is that it still looks like the turbine is attached to the cabin's roof and many of our reports and publications say you should not mount a small turbine on the roof of a building.
A simple payback period could not be calculated based on the information that you have selected. Please check your assumptions and try again.
Based on the assumptions that you entered, this investment looks very attractive. The payback period is 16. That means that your initial capital investment will be fully recovered within 16 years of the purchase. However, this simplified analysis is only preliminary. Please conduct a more thourough analysis before proceeding.
Based on the assumptions that you entered, this investment appears only marginally attractive. The payback period is 16. That means that your initial capital investment will be fully recovered within 16 years of the purchase. However, this analysis is only preliminary. Please conduct a more thourough analysis before proceeding.
Based on the assumptions that you entered, this investment does not look very attractive. The payback period is 16. That means that your initial capital investment will not be fully recovered until 16 years of the purchase. However, this analysis is only preliminary. Please conduct a more thourough analysis before proceeding.
Bad

## Financial
Payback Period = 16 years | Please make a selection using the radio buttons below:
Step 1: Financial Assummptions
3
| Mortgage | Loan | Cash | User-Defined Financing
Downpayment Percentage (%) | 10% | 10% | 100% |  | Must be greater than 0 and less than or equal to 100%.
Interest Rate (%/year) | 6.5% | 10% | 0% |  | Must be greater than or equal to 0 and less than 20%. Current mortage rates are around 7%.
Marginal Effective Income Tax Rate (%/year) | 30% | 0% | 0% |  | Must be greater than or equal to 0 and less than the highest marginal tax rate.
Debt Term (years) | 30 | 15 | 0 |  | Must be greater than or equal to 0 and less than or equal to 30.

## Site
Payback Period = 16 years |  | Please make a selection using the radio buttons below:
Step 2: Site Characteristics
2
|  | Great Plains Site | Class 6 Site | Class 4 Site | Class 6 High Elevation | Class 4 High Elevation | User-Defined Site
Site Properties
| Average Wind Speed (meters/second) | 8 | 6.7 | 5.8 | 6.7 | 5.8 |  | Average site wind speed, expressed in m/s.
| Anemometer Height (meters) | 50 | 10 | 10 | 10 | 10 |  | Anemometer height is in meters and is height at which the average wind speed was measured. If unknown, use 10 meters.
| Wind Shear Exponent | 0.143 | 0.143 | 0.143 | 0.143 | 0.143 |  | Wind shear exponent may be assumed to be "1/7" or 0.143 for smooth terrain. For flat terrain with some surface roughness (the Great Plains) use 0.20. For very smooth terrain or open water use 0.10.
| Weibull k | 2.3 | 2 | 2 | 2 | 2 |  | If Weibull k is not known, use k = 2 for inland sites, use 3 for coastal sites, and use 4 for island sites and trade wind regimes.
| Site Elevation (meters) | 800 | 0 | 0 | 2000 | 2000
Avoided Energy Costs
| Average Cost of Electricity ($/kWh) | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 |  | Average price of electricity from current provider.
| Nominal Electricity Escalation Rate (%/year) | 2% | 2% | 2% | 2% | 2% |  | Expected rate of electricity price increase, includes inflation.

## System
Payback Period = 16 years |  | Please make a selection using the radio buttons below:
Step 3: System Properties
2
|  | AOC 15/50 Wind Turbine | BW Excel - S/60 | WTIC Jacobs 29-20 | Whisper H175 (WPT 3000) | User Defined System
System Costs
| Total Installed Cost ($) | 101742 | 33504 | 28392 | 8214 |  | Total installed cost including applicable sales tax.
| Variable Costs ($/kWh) | 0.015 | 0.005 | 0.005 | 0.005 |  | Initial variable production costs. Typically $0.015/kWh for large grid-connected wind turbines, and lower for small wind turbines with fewer moving parts.
| Nominal Variable Cost Escalation Rate (%/year) | 2% | 2% | 2% | 2% |  | Variable production cost escalation rate, includes inflation. 0-5% if typical.
| Fixed Costs ($/kW) | 0 | 0 | 0 | 0 |  | Initial fixed production costs.
| Nominal Fixed Cost Escalation Rate (%/year) | 2% | 2% | 2% | 2% |  | Fixed production cost escalation rate, includes inflation. 0-5% is typical.
Physical Characteristics
| Rated Power (kW) | 50 | 10 | 17.5 | 3
| Rotor Hub Height (m) | 24 | 30 | 30 | 24
| Availability (%) | 98% | 98% | 98% | 98% |  | Availability is an allowance for wind turbine downtime. Availability of 95 - 98 % is typical.
| Performance Margin | 0% | 0% | 0% | 0% |  | Performance margin is a derating that accounts for unusable energy (e.g. when batteries are full) and adds a margin of safety in satisfying load requirements. Use 0.0 for grid-connected applications. Use 0.05 (5%) for remote homes and village power sites with back-up power. Use 0.15 (15%) - 0.25 (25%) for telecommunication applications with back-up power. Use 0.2 (20%) - 0.4 (40%) for high-priority loads at sites without back-up power (should have solar component).
| Performance Derating | 10% | 10% | 10% | 10% |  | Performance Derating is a derating of the wind turbine power curve for wind turbulence, product variability, and other factors that affect performance.
Power Curve (Wind Turbine Power (kW) @ x m/s)
If expressed in miles/hour, convert to meters/second by multiplying by 2.24.
| 1 m/s | 0 | 0 | 0 | 0
| 2 | 0 | 0 | 0 | 0
| 3 | 0 | 0 | 0 | 0
| 4 | 0 | 0.25 | 0.7 | 0.16
| 5 | 4.4 | 0.8 | 1.3 | 0.39
| 6 | 8.9 | 1.65 | 2.3 | 0.72
| 7 | 15.6 | 2.55 | 3.4 | 0.99
| 8 | 24.4 | 3.65 | 5.1 | 1.41
| 9 | 33 | 4.85 | 7.4 | 1.86
| 10 | 44 | 6.15 | 10.3 | 2.52
| 11 | 50 | 7.5 | 13.7 | 3.12
| 12 | 55 | 9 | 17.5 | 3.39
| 13 | 58 | 9.5 | 17.5 | 3.54
| 14 | 62 | 10 | 17.5 | 3.6
| 15 | 64 | 8 | 17.1 | 3.54
| 16 | 66 | 6 | 6.1 | 3.48
| 17 | 65 | 2.7 | 5.4 | 3.33
| 18 | 64 | 3 | 5.4 | 3.27
| 19 | 64 | 3 | 5.4 | 3.21
| 20 | 64 | 3 | 5.4 | 3.12
| 21 | 63 | 3 | 5.4 | 3.12
| 22 | 63 | 3 | 5.4 | 3.12
| 23 | 63 | 3 | 5.4 | 3.12
| 24 | 63 | 3 | 5.4 | 3.12
| 25 | 63 | 3 | 5.4 | 3.12

## Cash Flow
Result
Payback Period (SPB) | 16 | Number of years before initial investment is fully recovered.
Rate of Return (IRR) | 5.378% | Annual return on initial investment.
Net Present Value (NPV) | 40105.2794 | Present-day investment value if discounted at the after-tax interest rate.
Summary Assumptions
Power Output (kWh/year) | 27367.4663
Average Cost of Electricity ($/kWh) | 0.07
Nominal Electricity Escalation Rate (%/year) | 2%
Total Installed Cost | 33504
Downpayment (%) | 100%
Debt Term (years) | 0
Interest Rate (%/year) | 0%
Marginal Effective Tax Rate (%/year) | 0%
Variable Cost ($/kWh) | 0.005
Nominal Variable Cost Escalation Rate (%/year) | 2%
Rated Power (kW) | 10
Fixed Cost ($/kWh) | 0
Nominal Fixed Cost Escalation Rate (%/year) | 2%
30-Year Nominal Cash-Flow (All units are expressed as dollars unless otherwise noted)
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Revenue
Power Output (kWh/year) (A) |  | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663 | 27367.4663
Avoided Cost of Electricity ($/kWh) (B) |  | 0.0714 | 0.072828 | 0.074285 | 0.07577 | 0.077286 | 0.078831 | 0.080408 | 0.082016 | 0.083656 | 0.08533 | 0.087036 | 0.088777 | 0.090552 | 0.092364 | 0.094211 | 0.096095 | 0.098017 | 0.099977 | 0.10198 | 0.10402 | 0.1061 | 0.10822 | 0.11038 | 0.11259 | 0.11484 | 0.11714 | 0.11948 | 0.12187 | 0.12431 | 0.1268
Total Revenue (A*B) |  | 1954.0371 | 1993.1178 | 2032.9802 | 2073.6398 | 2115.1126 | 2157.4148 | 2200.5631 | 2244.5744 | 2289.4659 | 2335.2552 | 2381.9603 | 2429.5995 | 2478.1915 | 2527.7553 | 2578.3104 | 2629.8767 | 2682.4742 | 2736.1237 | 2790.8461 | 2846.6631 | 2903.5963 | 2961.6683 | 3020.9016 | 3081.3197 | 3142.9461 | 3205.805 | 3269.9211 | 3335.3195 | 3402.0259 | 3470.0664
Expenses
Initial Capital Expenditure (Downpayment) | 33504
Amount Financed | 0
Total Debt Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Before-Tax Debt Interest Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Principal Payment (C) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-Tax Debt Interest Payment (D) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Variable Costs (E) |  | 139.5741 | 142.3656 | 145.2129 | 148.1171 | 151.0795 | 154.1011 | 157.1831 | 160.3267 | 163.5333 | 166.8039 | 170.14 | 173.5428 | 177.0137 | 180.554 | 184.165 | 187.8483 | 191.6053 | 195.4374 | 199.3462 | 203.3331 | 207.3997 | 211.5477 | 215.7787 | 220.0943 | 224.4961 | 228.9861 | 233.5658 | 238.2371 | 243.0018 | 247.8619
Fixed Costs (F) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Expenses (C+D+E+F) |  | 139.5741 | 142.3656 | 145.2129 | 148.1171 | 151.0795 | 154.1011 | 157.1831 | 160.3267 | 163.5333 | 166.8039 | 170.14 | 173.5428 | 177.0137 | 180.554 | 184.165 | 187.8483 | 191.6053 | 195.4374 | 199.3462 | 203.3331 | 207.3997 | 211.5477 | 215.7787 | 220.0943 | 224.4961 | 228.9861 | 233.5658 | 238.2371 | 243.0018 | 247.8619
Net Cash-Flow | -33504 | 1814.463 | 1850.7523 | 1887.7673 | 1925.5227 | 1964.0331 | 2003.3138 | 2043.3801 | 2084.2477 | 2125.9326 | 2168.4513 | 2211.8203 | 2256.0567 | 2301.1778 | 2347.2014 | 2394.1454 | 2442.0283 | 2490.8689 | 2540.6863 | 2591.5 | 2643.33 | 2696.1966 | 2750.1205 | 2805.1229 | 2861.2254 | 2918.4499 | 2976.8189 | 3036.3553 | 3097.0824 | 3159.024 | 3222.2045
Cumulative Net Cash-Flow | -33504 | -31689.537 | -29838.7847 | -27951.0174 | -26025.4947 | -24061.4616 | -22058.1478 | -20014.7677 | -17930.5201 | -15804.5875 | -13636.1362 | -11424.3159 | -9168.2592 | -6867.0814 | -4519.88 | -2125.7346 | 316.2937 | 2807.1626 | 5347.8489 | 7939.3489 | 10582.6789 | 13278.8755 | 16028.996 | 18834.119 | 21695.3444 | 24613.7943 | 27590.6132 | 30626.9684 | 33724.0508 | 36883.0749 | 40105.2794

## Assumptions
= Calculated Values
= User Selected Values
Financial Assumptions
| Downpayment Percentage (%) |  | 1
| Interest Rate (%/year) |  | 0
| Marginal Effective Income Tax Rate (%/year) |  | 0
| Debt Term (years) |  | 0
Site Characteristics
Site Properties
|  | Average Wind Speed (m/s) | 6.7
|  | Anemometer Ht (m) | 10
|  | Wind Shear Exponent | 0.143
|  | Weibull k | 2
|  | Site Elevation (m) | 0
Avoided Energy Costs
|  | Average Cost of Electricity ($/kWh) | 0.07
|  | Nominal Electricity Escalation Rate (%/year) | 0.02
System Characteristics
System Costs
|  | Total Installed Cost ($/kW) | 33504
|  | Variable Costs ($/kWh) | 0.005
|  | Nominal Variable Cost Escalation Rate (%/year) | 0.02
|  | Fixed Costs ($/kW) | 0
|  | Nominal Fixed Cost Escalation Rate (%/year) | 0.02
Physical Characteristics
|  | Rated Power (kW) | 10
|  | Rotor Hub Height (m) | 30
|  | Availability (%) | 0.98
|  | Performance Margin | 0
|  | Performance Derating | 0.1
|  | Hub Height Average Wind Speed (m/s) | 7.8398
|  | Air Density Factor | 1
|  | Average Annual Power Output (kWh) | 27367.4663
|  | Implied Capacity Factor | 31.24%
|  | Wind Speed (m/s) | Wind Turbine Power (kW) | Wind Speed Probability (%) | Contribution to Average Wind Turbine Power (kW)
|  | 1 | 0 | 2.545% | 0
|  | 2 | 0 | 4.896% | 0
|  | 3 | 0 | 6.886% | 0
|  | 4 | 0.25 | 8.389% | 0.018498
|  | 5 | 0.8 | 9.338% | 0.065888
|  | 6 | 1.65 | 9.724% | 0.14152
|  | 7 | 2.55 | 9.595% | 0.2158
|  | 8 | 3.65 | 9.038% | 0.29097
|  | 9 | 4.85 | 8.167% | 0.34938
|  | 10 | 6.15 | 7.104% | 0.38534
|  | 11 | 7.5 | 5.961% | 0.39435
|  | 12 | 9 | 4.835% | 0.38382
|  | 13 | 9.5 | 3.795% | 0.31801
|  | 14 | 10 | 2.886% | 0.25455
|  | 15 | 8 | 2.128% | 0.15015
|  | 16 | 6 | 1.522% | 0.080557
|  | 17 | 2.7 | 1.057% | 0.025173
|  | 18 | 3 | 0.7129% | 0.018864
|  | 19 | 3 | 0.4671% | 0.01236
|  | 20 | 3 | 0.2975% | 0.0078706
|  | 21 | 3 | 0.1841% | 0.0048721
|  | 22 | 3 | 0.1108% | 0.0029326
|  | 23 | 3 | 0.06488% | 0.0017167
|  | 24 | 3 | 0.03694% | 0.00097749
|  | 25 | 3 | 0.02046% | 0.00054149
|  | Totals |  | 99.76% | 3.1241